KingFisher® Flex process with 96 deep well magnet head and NucleoMag™ 96 Plant Kit (Macherey-Nagel)

Sample process

- Homogenize and lyse the sample according to the NucleoMag™ 96 Plant Kit instructions, Macherey-Nagel, catalog no. 744 400

- Fill the plates according to the Table 1. More information about the reagents in the NucleoMag™ 96 Plant Kit instructions

| Plate number | Plate type | Plate name | Content | Sample/reagent volume |
| --- | --- | --- | --- | --- |
| 1 | Microtiter deep well 96 plate | Lysate | Sample lysate | 400 µl |
|  |  |  | Binding Buffer MC2 | 400 µl |
|  |  |  | NucleoMag C-Beads | 30 µl |
| 2 | Microtiter deep well 96 plate | Wash MC3 | Wash Buffer MC3 | 600 µl |
| 3 | Microtiter deep well 96 plate | Wash MC4 | Wash Buffer MC4 | 600 µl |
| 4 | Microtiter deep well 96 plate | Wash EtOH | 80% Ethanol | 600 µl |
| 5 | Microtiter deep well 96 plate | Wash MC5 | Wash Buffer MC5 | 600 µl |
| 6 | KingFisher 96 plate | Elution | Elution Buffer MC6 | 150 µl |

Table 1. Filling the plates

- Combine the 96 deep well tip comb and the KingFisher 96 plate. For more detailed instructions, see KingFisher Flex User manual

- Start the “NucleoMag Plant DNA Flex96” protocol using arrow keys and START button. You can also run the protocol using a computer, for more details see BindIt software user manual

- Load the plates according to the protocol request and press START after every plate to confirm the action

Note! Confirm that the plates are placed in correct orientation: A1 well to be pointed to upper right corner of the plate holder in turntable. A1 row of the plate is then always located in the inner circle of the turntable

- The purification protocol will start when the last plate is loaded and START button is pressed.

- After the purification process is completed the plates are removed according to instructions shown in the instrument screen. Press START after each plate removal to confirm the action

- When the last plate is removed text End of run will appear. Press STOP to complete the run.

For more information: www.thermo.com/kingfisher and www.mn-net.com